## Slide 1
Capsule
(1)
Condition
(1 – n)
Capsule
(n)
Asset
(1)
Asset
(1 – n)
Asset
(n)
Sample
(1)
Signal
(1 – n)
Sample
(n)
Scalar
(1 – n)

## Slide 2
Value, Timestamp, Quality
Start Timestamp
End Timestamp
Timestamp

## Slide 3
Sample 1
Signal
.
.
.
Sample 2
Sample 3
…
Units
Sample 1
Sample 2
Sample 3
Time
Signal

## Slide 4
Capsule 1
Condition
.
.
.
Capsule 2
Capsule 3
Condition
Calendar Time
Condition
Capsule Time
Capsule 1
Capsule 2
Capsule 3
Capsule 1
Capsule 2
Capsule 3

## Slide 5
Asset
.
.
.
Signal 1
Signal 2
Scalar 1
Condition 1
Condition 2

## Slide 6
Type
ID | Type | Area | State
FIC-001.PV | Pump | Area_A | Production
PIC-003.SP | Valve | Area_B | Production
FIC-002.IVP | Pump | Area_B | Maintenance
Area
-
State
Plant Name
-
Area_A
-
Pump
-
Production
FIC-001.PV
-
Area_B
-
Pump
-
Maintenance
FIC-002.IVP
-
Valve
-
Production
PIC-003.SP
Asset Tree

## Slide 7
Power
(kW)
Power Usage
t1
t2
t3
Energy
(kWh)
Average Energy
t1
t2
t3

## Slide 8
Unit
State
Step #1: Create batch Production Run and batch unit capsules
t
Unit “RUNNING” capsules
Production run capsules
RUNNING: Producing product; business as usual.
HELD: Problem encountered or out of spec so need to resolve and RESTART.
Unit “NOT RUNNING” capsules
Unit
State
t
Step #2: Create time-series from Conditions based on Duration and Start-Time of capsules

## Slide 9
Hours
Step #3: Create two new signals for total time (SUM the points) “RUNNING” and “NOT RUNNING” over the course of the Production run capsules and put that value at the Start-Time of the Production Run capsules
t
Unit “RUNNING” capsules
Production run capsules
Unit “NOT RUNNING” capsules
Hours
&
%
t
Step #4: Create two new signals for percent of total production time for “RUNNING” and “NOT RUNNING” over the course of the Production run capsules and put that value at the Start-Time of the Production Run capsules
%
Hours
Step #5: Add additional trends to Capsule time view to figure out WHY batch cycle time is getting worse…